## README
Greenhouse Procurement CAPEX Planner
SeedMatchGroup — Executive Knowledge Center
Purpose | Structure the total CAPEX for a commercial greenhouse project across structures, climate, irrigation/fertigation, growing systems, energy, digital controls, packing, sitework and soft costs. Use in the RFQ Builder and financing conversations.
How to use | Blue cells = your inputs. Black cells = formulas. Green cells = links to other sheets. Yellow = key assumptions to validate with quotations.
Scope | Supplier-neutral. Benchmarks are order-of-magnitude only and vary by country, climate, spec and steel price. Always confirm with formal RFQs.
Disclaimer | Educational planning worksheet. Not investment advice. Confirm every line with independent quotations and, where relevant, an EPC or owner's engineer.
Version | 1.0 — Phase 2 flagship

## Assumptions
Item | Value | Type | Notes
Project
Project name | Commercial Greenhouse Project | text | Free text — reuse in RFQ Builder
Country | — | text | Impacts steel, labour, freight, incentives
Structure type | Venlo glass | text | e.g. Venlo glass, gutter-connected polycarbonate, high-tunnel
Covered area (m²) | 20000 | input | 1 ha = 10,000 m²
Target crop | Tomato — TOV | text | Impacts irrigation, climate and grading spec
Contingency % | 10% | input | 10–15% typical at feasibility stage
Soft costs % | 8% | input | Engineering, PM, permits, commissioning
Currency | USD | text | Report currency
Benchmarks ($/m² — validate with quotations)
Structure & glazing | 180 | input | Venlo glass benchmark; polycarbonate 90–140
Climate (heating, cooling, screens) | 120 | input | Varies with climate zone
Irrigation & fertigation | 55 | input | Includes dosing, filtration, storage
Growing systems (gutters/hydroponics) | 65 | input | Hydroponic tomato/pepper benchmark
Energy (boilers, CHP, PV, storage) | 90 | input | Excludes grid connection
Digital controls & sensors | 25 | input | Climate computer, sensors, SCADA
Packing house & post-harvest | 40 | input | Include cold room, grading, packaging
Sitework, foundations, utilities | 70 | input | Highly site-dependent

## CAPEX
Category | Unit rate ($/m²) | Area (m²) | Base cost ($) | Notes
Structure & glazing |  |  |  | Steel, glazing, gutters, doors
Climate (heat/cool/screens) |  |  |  | Boilers, pad-fan, screens, dehumidification
Irrigation & fertigation |  |  |  | Dosing, filtration, tanks, drip
Growing systems |  |  |  | Hydroponic gutters, substrates, tables
Energy |  |  |  | Boilers, CHP, PV, storage — no grid
Digital controls & sensors |  |  |  | Climate computer, SCADA, sensors
Packing house & post-harvest |  |  |  | Cold room, grading, packaging
Sitework, foundations, utilities |  |  |  | Grading, foundations, water, power
Base CAPEX subtotal
Soft costs
Contingency
TOTAL CAPEX
Total $/m²
Total $/ha

## Financing
Item | Value
Total CAPEX (from CAPEX sheet)
Equity contribution % | 35%
Debt %
Equity amount
Debt amount
Interest rate (annual) | 8%
Tenor (years) | 8
Annual debt service (PMT)
DSCR target (project EBITDA / debt service) | 1.4
Minimum EBITDA required to hit DSCR

## RFQ Handoff
Field to paste into the SeedMatchGroup RFQ Builder | Value
Project name
Country
Structure type
Covered area (m²)
Crop
Total CAPEX (USD)
$/m²
Equity % / Debt %
Minimum EBITDA for target DSCR
Next step | Open the RFQ Builder at https://seedmatchgroup.com/rfq-builder and paste these values into the matching fields.